## Sheet1
Skill ID | Chapter | Task Action | Task Object | Verification Method | Required for Level 1 | Category | ORM Class | Subcategory | Tool/Voltage/Note
PLC-001 | 1 | Describe | PLC operation and purpose | Written/Oral | Yes | Electrical | ElectricalSkill | PLC Basics
PLC-002 | 1 | Identify | Main PLC system components | Quiz | Yes | Electrical | ElectricalSkill | PLC Basics
PLC-003 | 2 | Wire | Discrete input module | Demonstration | Yes | Electrical | ElectricalTask | PLC I/O | Low Voltage
PLC-004 | 2 | Wire | Discrete output module | Demonstration | Yes | Electrical | ElectricalTask | PLC I/O | Low Voltage
PLC-005 | 2 | Label | PLC input/output terminals | Hands-on/Quiz | Yes | Electrical | ElectricalTask | PLC I/O
PLC-006 | 3 | Identify | PLC processor module | Oral/Written | Yes | Electrical | ElectricalSkill | PLC Processor
PLC-007 | 3 | Explain | Processor scan sequence | Oral/Quiz | Yes | Electrical | ElectricalSkill | PLC Processor
PLC-008 | 4 | Address | Input/output points | Quiz/Hands-on | Yes | Electrical | ElectricalSkill | PLC Addressing | Binary/Octal/Hex
PLC-009 | 4 | Convert | Decimal to binary/oct/hex for addressing | Quiz | Yes | Electrical | ElectricalSkill | PLC Addressing
PLC-010 | 5 | Explain | PLC memory types | Written/Quiz | Yes | Electrical | ElectricalSkill | PLC Memory
PLC-011 | 5 | Select | Proper data format for program | Hands-on | No | Electrical | ElectricalSkill | PLC Memory
PLC-012 | 6 | Program | Ladder logic rung | Programming software | Yes | Electrical | ElectricalTask | Ladder Logic | Allen-Bradley
PLC-013 | 6 | Interpret | Ladder logic diagram | Simulation/Quiz | Yes | Electrical | ElectricalSkill | Ladder Logic
PLC-014 | 7 | Use | Relay-type instruction (examine | output) | Simulation | Electrical | Programming | ElectricalTask | Ladder Logic,
PLC-015 | 7 | Implement | Logic operation (AND/OR/NOT) | Programming software | Yes | Electrical | ElectricalTask | Ladder Logic
PLC-016 | 8 | Program | Timer instruction (TON/TOF/RTO) | Test/Simulation | Yes | Electrical | ElectricalTask | Timers
PLC-017 | 8 | Adjust | Timer preset/accumulated value | Hands-on | No | Electrical | ElectricalTask | Timers
PLC-018 | 9 | Program | Counter instruction (CTU/CTD) | Test/Simulation | Yes | Electrical | ElectricalTask | Counters
PLC-019 | 9 | Monitor | Counter status bits | Hands-on/Quiz | No | Electrical | ElectricalTask | Counters
PLC-020 | 10 | Implement | Math functions (ADD/SUB/MUL/DIV) | Programming software | No | Electrical | ElectricalTask | Math Functions
PLC-021 | 10 | Use | Data comparison (EQU | LES | GRT) | Electrical | No | Programming | ElectricalTask,Math Functions,
PLC-022 | 11 | Program | Data move instruction (MOV | COP) | Simulation | Electrical | Programming | ElectricalTask | Data Manipulation,
PLC-023 | 11 | Manipulate | Data file/array | Programming software | No | Electrical | ElectricalTask | Data Manipulation
PLC-024 | 12 | Configure | Analog input module | Demonstration | No | Electrical | ElectricalTask | Analog I/O | 4-20mA/0-10V
PLC-025 | 12 | Configure | Analog output module | Demonstration | No | Electrical | ElectricalTask | Analog I/O | 4-20mA/0-10V
PLC-026 | 12 | Scale | Analog signals | Programming software | No | Electrical | ElectricalTask | Analog I/O
PLC-027 | 13 | Program | Sequencer instruction | Simulation | No | Electrical | ElectricalTask | Sequencers
PLC-028 | 14 | Program | PID control loop | Simulation/Test | No | Electrical | ElectricalTask | PID Control
PLC-029 | 14 | Tune | PID parameters | Practical/Software | No | Electrical | ElectricalTask | PID Control
PLC-030 | 15 | Configure | Alarm function/Event | Simulation | No | Electrical | ElectricalTask | Alarms
PLC-031 | 16 | Configure | PLC communication network | Demonstration | Yes | Electrical | ElectricalTask | PLC Networks | Ethernet/IP, DH+, RS-232
PLC-032 | 16 | Troubleshoot | PLC network communication | Fault insertion/Repair | Yes | Electrical | ElectricalTask | PLC Networks
PLC-033 | 17 | Startup | PLC system | Demonstration | Yes | Electrical | ElectricalTask | PLC Startup
PLC-034 | 17 | Follow | Startup safety checklist | Checklist/Observation | Yes | Electrical | ElectricalTask | PLC Startup
PLC-035 | 18 | Troubleshoot | Faulty input/output device | Fault insertion | Yes | Electrical | ElectricalTask | PLC Faults
PLC-036 | 18 | Isolate | Hardware/software problem | Hands-on/Scenario | Yes | Electrical | ElectricalTask | PLC Faults
PLC-037 | 19 | Document | PLC program changes | Document review | No | Electrical | ToolTask | Documentation
PLC-038 | 19 | Backup | PLC program to storage device | Demonstration | No | Electrical | ToolTask | Documentation | USB/SD Card
PLC-039 | 19 | Restore | PLC program from backup | Demonstration | No | Electrical | ToolTask | Documentation
PLC-040 | All | Use | Programming software (RSLogix/Studio 5000) | Demonstration | Yes | Electrical | ToolTask | Programming Device
PLC-041 | All | Connect | Programming device to PLC | Demonstration | Yes | Electrical | ToolTask | Programming Device | USB/Ethernet/Serial